Activity/Task Title:

Activity Task Description:

| CHECK “YES” OR “NA.” PROVIDE A BASIS FOR ALL ITEMS. |  |  |  |
| --- | --- | --- | --- |
| Yes | N/A |  |  |
|  |  | 1. | Procedures/Laboratory Instructions for all laboratory equipment are complete, current, and approved. |
|  |  |  | BASIS: |
|  |  | 2. | Work Control documents are complete, current, and approved. |
|  |  |  | BASIS: |
|  |  | 3. | Permits and Plans required for the project/laboratory are complete, current, and approved. |
|  |  |  | BASIS: |
|  |  | 4. | Equipment and tooling required for research have been identified, verified operational and ccalibrated as applicable. |
|  |  |  | BASIS: |
|  |  | 5. | Personal Protective Equipment (PPE) required for this project is available and in acceptable condition and sufficient quantity to support research. |
|  |  |  | BASIS: |
|  |  | 6. | All personnel have completed CAES, Laboratory, and Project specific training. Training is documented. |
|  |  |  | BASIS: |
|  |  | 7. | Demonstrations have been completed to verify that equipment, tools, and operating steps are adequate/operable for research to commence. NOTE: Surrogate processes, procedures and equipment can be demonstrated in a safe and quality manner. |
|  |  |  | BASIS: |
|  |  | 8. | The level of knowledge of laboratory personnel is adequate based on selected interviews of principal investigator, laboratory leads, researchers, and students. |
|  |  |  | BASIS: |
|  |  | 9. | Health and safety walk-downs have been completed in operating areas required to support the activity, and deficiencies have been resolved. |
|  |  |  | BASIS: |
|  |  | 10. | The laboratory has been posted and barriers erected to meet regulatory and facility operational requirements. |
|  |  |  | BASIS: |
|  |  | 11. | Potential upsets and anomalies have been addressed using drill performance, tabletop analysis, or dry runs. |
|  |  |  | BASIS: |
|  |  | 12. | The condition of equipment will support safe conduct of research. |
|  |  |  | BASIS: |

| NOTIFICATION, CONCURRENCE AND APPROVALS |  |  |
| --- | --- | --- |
| The Readiness Verification has been completed and with the resolution of the Pre-Start Issue(s) (if any) I recommend approval to start laboratory work. | TECHNICAL SAFETY OFFICER | DATE: |
| Any identified Pre-Start issues have been resolved and corrective action plans are in place for Post-Start Issues. I recommend approval to start laboratory work. | LABORATORY LEAD | DATE: |